## Slide 1: ACCREDITATION OF ANALYTICAL LABORATORIES
DTC-311 (Chemical Quality Assurance)
Binod Kumar Bharti
Assistant Professor cum Jr. Scientist
Department of Dairy Chemistry
Sanjay Gandhi Institute of Dairy Technology, Patna

## Slide 2: Objective- How Accreditation of Analytical Laboratories ?
Key words-
Accreditation, Analytical Laboratories, NABL, ISO, IEC, Autonomous Body

## Slide 3: Introduction
► The concept of laboratory accreditation was developed to provide for third-party certification of the competence of laboratories to perform a specific types of testing and calibration.
► Laboratory accreditation provides formal recognition to competent laboratories.
► It is providing for customers to identify and also select reliable testing, measurement and calibration services.
► To maintain formal recognition, laboratories are re-evaluated periodically by the accreditation body to ensure their continued compliance with requirements, and to check that their standard of operation is being maintained.
► Laboratory accreditation are uses the criteria and procedures specifically developed to determine technical competence.

## Slide 4
First party Certification:
● Laboratory belongs to user, who is satisfied and used for his own jobs.
Second Party Certification:
● Laboratory does not belong to user but user using his own means certifies the laboratory, and uses for his own requirements
Third Party Certification:
● Certifying/ Accreditation body for laboratories, is neither the owner of the laboratory nor is the user.

## Slide 5: ► The criteria are based on an international standard. These standards are called International Organization for standardization/ International Electrochemical Commission (ISO/IEC) 17025, which is used for evaluating laboratories throughout the world. ► Government of India (GOI) has authorized National Accreditation Board for Testing and Calibration Laboratories (NABL) as the single accreditation body for the purpose of accreditation of Testing and Calibration laboratories. ► NABL is an autonomous body under the guidance of Department of Science and Technology, Government of India, and it is also registered under the Societies Act.

## Slide 6: ► The main objective of establishment of NABL to provide Government, Industry Associations and Industry for third-party assessment of the quality as well as technical competence of testing and calibration laboratories. ► NABL is a full member of both ILAC (International Laboratory Accreditation Cooperation) and APLAC (Asia Pacific Laboratory Accreditation Cooperation).

## Slide 7: The Development of Laboratory Accreditation
FDA Milk Testing Labs | USA | 1941
NATA | Australia | 1948
IANZ | New Zealand | 1973
STP/DANAK | Denmark | 1973
NVLP | USA | 1976
ILAC | International conference | 1977
ISO/IEC Guide 25 | Requirements for competence | 1978
COFRAC | France | 1979
CALA /SCC | Canada | 1980
NAMAS/UKAS | UK | 1981
APLAC | Asia-Pacific Co-op | 1992
NABL | India | 1992
EMA | Mexico | 1998

## Slide 8: Accreditation of Food Laboratories
A food laboratory may be accredited for the following tests:
In Food Products-
- Sensory evaluation
- Chemical Testing
- Microbiological Testing
- Micronutrients Analysis
- Residues Analysis
Microbiological condition of Food Factories
Packaging Tests
Shelf-life of Food Products Testing

## Slide 9: Process of Accreditation
There are 5 stages of Process of Accreditation
Stage I
 First prepare laboratory's application for NABL accreditation, giving all required information and enlisting the name of tests and calibrations along with range and measurement.
 Laboratory can apply either for all testing or part of testing and calibration facilities.
 Laboratory has to take special care for filling the accreditation for which the laboratory wishes to apply.
 Laboratories are required to submit 3 sets of duly filled application forms for each field of testing and calibration along with two sets of Application Fees and Quality Manual.

## Slide 10:  NABL Secretariat on receipt of application will issue acknowledgement to the concern laboratory. After scrutiny of application, a unique Customer Registration Number will be allotted to laboratory for further processing of application.  Then NABL Secretariat shall nominate a Lead Assessor for giving Adequacy Report on the Quality Manual/Application submitted by the laboratory. A copy of Adequacy Report by Lead Assessor will be provided to Laboratory for taking necessary corrective action, if any. The laboratory shall submit Corrective Action Report (CAR).  After satisfactory corrective action by the laboratory, a Pre-Assessment audit of the laboratory will be organized by NABL. Laboratories must ensure by carrying out its internal audit before Pre-Assessment.

## Slide 11:  NABL Secretariat shall organize the Pre-Assessment audit, which shall normally be carried by Lead Assessor at the laboratory sites.  The pre-assessment helps the laboratory to be better prepared for the Final Assessment.  It also helps the Lead Assessor to assess the laboratory to undergo Final Assessment apart from Technical Assessor(s) and Total Assessment Man-days required and the scope of accreditation as per application submitted by the laboratory.
Stage II

## Slide 12:  A copy of Pre-Assessment Report will be provided to laboratory for taking necessary corrective action on the concerns raised during audit, if any.  The laboratory shall submit Corrective Action Report to NABL Secretariat.  After laboratory confirms the completion of corrective actions, Final Assessment of the laboratory shall be organized by NABL.

## Slide 13: Stage III
 NABL Secretariat shall organize the Final Assessment at the laboratory site(s) for its compliance to NABL Criteria and also appoint an assessment team.
 The Assessment Team shall comprise of a Lead Assessor and other Technical Assessor(s) in the relevant fields.
 Assessors shall raise the Non-Conformance(s), if any, and provide it to the laboratory in prescribed format.
 The Lead Assessor will provide a copy of consolidated report of the assessment to the laboratory and send the original copy to NABL Secretariat.
 Laboratory shall take necessary corrective action on the remaining Non Conformance(s) and shall submit a report to NABL within a period of 2 months.

## Slide 14: Stage IV
 After satisfactory corrective action by the laboratory, the Accreditation Committee examines the findings of the Assessment Team and recommends additional corrective action, if any, by the laboratory.
 Accreditation committee determines whether the recommendations in the assessment report are consistent with NABL requirements as well as commensurate with the claims made by the laboratory in its application.
 Laboratory shall have to take corrective action on any concerns raised by the Accreditation committee.

## Slide 15:  Accreditation committee shall make the appropriate recommendations regarding accreditation of a laboratory to NABL Secretariat.  Laboratories are free to appeal against the findings of assessment or decision on accreditation by writing to the Director, NABL.  If possible NABL will depute its own technical personnel to be present at the time of assessment as Coordinator and NABL observer.  Sometimes, NABL may depute a newly trained Technical Assessor, known as "Observer" of the laboratory to be assessed.

## Slide 16: Stage V
 Accreditation to a laboratory shall be valid for a period of 2 years.
 NABL shall conduct periodical observation of the laboratory at intervals of one year.
 Laboratory shall apply for Renewal of accreditation to laboratory at least 6 months before the expiry of the validity of accreditation.

## Slide 17: Benefit of accreditation
To increase in business due to enhanced customer confidence and satisfaction.
Savings in terms of time and money – elimination of the need of retesting.
It has better control of laboratory operations.
To increase of confidence in testing / calibration data and personnel performing work.
It is easy to identify the laboratories as per requirements.
Users – greater access of their products when tested by accredited labs.
It is a harmonize analytical methods.
Accreditation is to support defense under litigation or complexity.

## Slide 18: Conclusion
Laboratory accreditation provides formal recognition to competent laboratories, and providing for customers to identify testing and calibration facilities. It is uses criteria and procedures specially developed to determine by the technical competence. The criteria are based on an international standards of International Organization for Standardization/ International Electrochemical Commission (ISO/IEC) 17025, which is used for evaluating laboratories throughout the world. Government of India (GOI) has authorized National Accreditation Board for Testing and Calibration Laboratories (NABL) as the individual accreditation body for the accreditation of Testing and Calibration laboratories. NABL is an autonomous body, works under the Department of Science and Technology, Government of India. NABL is also registered under the Societies Act. Accreditation to a laboratory shall be valid for a maximum period of 2 years.

## Slide 19: References
www.agrimoon.com
http://www.nabl-india.org/

## Slide 20: Thank You